David,

In response to your inquiry what would happened if a foot of snow cover the roof-mounted radiometer?

The snow should be clean by the building maintenance. However the radiometers are usually elevated away from the roof, thus it’s very seldom they are covered with snow.